## Slide 1
Advanced Flow Cytometry
J. Paul Robinson & John Nolan

## Slide 2: Advanced Flow Cytometry
1-Cell Receptors | 30 min | JN
2-Advanced data processing | 30 min | JPR
3-Spectral Flow Cytometry | 30 min | JN
4-Mass cytometry | 15 min | JPR
Break and discussion | 15 min | 
5-Nanoparticle flow cytometry | 30 min | JN
6-High throughput flow cytometry | 30 min | JPR
7-Environmental and microbial flow cytometry | 30 min | JPR
8-The future of flow cytometry | 30 min | JN

## Slide 3: 1-Measurement of Cell Surface Receptors
John P. Nolan
Scintillon Institute
San Diego, CA
jnolan@scintillon.org
Advanced Short Course

## Slide 4: Learning Objectives
At the conclusion of this lecture you will know
The basic features of ligand-receptor interactions
How to measure specific and non-specific binding
How to quantify the number of receptors
Approaches to assess receptor function

## Slide 5: Outline
Receptor-ligand interactions
Immunophenotyping
Antibodies
Receptor occupancy
Receptor signaling
Receptor internalization

## Slide 6: Multiparameter Flow Cytometry

## Slide 7: Multiparameter Cell Analysis
Hierarchical gating is used to identify subsets
There is much interest in automating this analysis as the number of parameters grows
Notes: CD4 are helper T cells
CD8 are cytotoxic T cells
CD45RO -/+ are naïve and memory T cells
IFN and IL2 are cytokines produced as part of a functional response

## Slide 8: Polychromatic Flow Cytometry
Perfetto, 2004
Notes: Instrumentation for multiparameter measurements
Violet, blue, green, and red lasers
Efficient light collection and spectral separation
Cross talk occurs, dealt with through compensation
System is maxed out from and instrument standpoint, but what about reagents?

## Slide 9: Immunophenotyping Resources
Most mAb vendors have online panel design tools and tutorials
OMIPS: Optimized multiparameter immunophenotyping panels (Cytometry A)
ISAC’s CYTO U: webinars and tutorals

## Slide 10: Antibody Titration

## Slide 11: Measuring Non-specific Binding
Block/compete with unlabeled ligand
Inactive ligand/receptor mutant
Receptor knockout cell line
Isotype control

## Slide 12: How bright are my cells?
Reporting data in absolute units of intensity
  Photons (not so useful in practice)
  MESF: molecules of equivalent soluble fluorochromes
  ERF: equivalent reference fluorochromes

## Slide 13: Example of MESF determination
Fluorescence intensity of 106 beads stained with reference fluorophore in a unit volume equals that of the same volume of fluorophore solution
Dye solution has 1 x 1012 fluorophore molecules per unit volume
Equivalent Bead fluorescence = (1 x 1012 fluorophores)/106 beads
= 1,000,000 fluorophores per bead
Wang and Gaigalas (2011) Development of Multicolor Flow Cytometry Calibration Standards: Assignment of Equivalent Reference Fluorophores (ERF) Unit. J. Res. Natl. Inst. Stand. Technol. 116, 671-683.

## Slide 14: Calibration of fluorescence intensity
Quantum FITC MESF (Bangs Labs)
Bangs Quantum FITC MESF calibration beads

## Slide 15: Calibration of fluorescence intensity
Quantum FITC MESF (Bangs Labs)
Bangs Quantum FITC MESF calibration beads

## Slide 16: How many molecules are on my cells?
Two approaches:
From MESF, # = MESF/(F/P*Qr), where
  - F/P is the fluorophore/protein ratio
  - Qr is the quantum yield of the conjugated fluor relative to free fluor
  Pros: Accurate, works for any fluorescent ligand
  Cons: MESF standards not available for all fluors
Using calibrated capture beads
  Stain with fluorescent antibody used in assay
  Construct calibration curve
  Pros: Simple, works for any fluorophore
  Cons: Not all antibodies are captured equally

## Slide 17: Antibody Capture Beads
Bangs Simply Cellular Calibration Beads
- Captures labeled 1° Ab by Fc region

## Slide 18: Receptor Occupancy
mAbs used as therapeutics
Fl-mabs used to measure:
  Total receptor
  Free drug binding sites
Stewart et al (2016) Cytometry B

## Slide 19: Receptor Occupancy
Green et al (2016) Cytometry B

## Slide 20: Receptor-Ligand Interactions
L
R
R
L
+
Receptor-ligand pairs
Protein-antibody: CD4- anti-CD4
Protein-protein: EGFR-EGF
Protein-peptide: FPR-fMLP
Protein-carbohydrate: VCAM-1 -
Protein-nucleic acid: TLR-RNA

## Slide 21: Equilibrium Binding

## Slide 22: Binding Kinetics
L
kon
R
R
L
koff
+
KD = koff/kon

## Slide 23: Receptor Signalling: Calcium Flux
0
5
0
1
0
0
1
5
0
2
0
0
2
5
0
0 nM fMLP
1 nM
10 nM
100 nM
Nolan et al (1995) Cytometry
Graves et al (2002) Cytometry

## Slide 24: Receptor Function
Wiley et al (2003)

## Slide 25: Cholera Toxin
AB5
  A: 27 kDa catalytic domain (ADP ribosylase)
  B: 11.5 kDa binding (pentameric)
Binding
  Ganglioside GM1
Internalization
  Target: adenylate cyclase
Interest for
  Diagnostics
  Therapeutics
Other Uses
  Lipid raft probe
  Adjuvant
  Vaccine targeting

## Slide 26: Interaction of CTxB with Cells
Binding not well described by single site model
At least two classes of cell surface binding sites

## Slide 27: Sub-Cellular Localization
T= 0 minutes
T= ~30 minutes
Cells and Alexa488-CTxB incubated at 4°C for 60 minutes, washed and warmed to 37°C, and fluorescence visualized by confocal microscopy.

## Slide 28: Processing of CTxB
Fraction of fluorescence rapidly lost from cell, density dependant

## Slide 29: pH Quench of Extracellular CTxB
Labeled,
washed
at 4°C
pH 4
pH 7.4
Internalization
Transport
and
Processing
Secretion

## Slide 30: Internalization and Processing
Internalization is rapid
Excretion is rapid
A significant fraction remains on the cell surface

## Slide 31: Summary
FC enables quantitative measurement of:
Receptor number and function
Equilibrium binding and kinetics
Signaling
Processing and internalization