## Slide 1: BMS 631 - Lecture 5
Optical Systems
optical geometry; light sources, laser illumination,
& other useful means; optics and shaping the incoming beam;
forward angle light scatter - what it is, why it is useful.
Side angle (90 degree) light scatter, what does it measure?
References:
Shapiro 3rd ed. 93-115
4th edition 101-159
J.Paul Robinson The SVM Professor of Cytomics College of Veterinary Medicine,
&
Professor of Biomedical Engineering
College of Engineering
Purdue University

## Slide 2: Review
Scatter - Rayleigh Scatter - directly proportional to property of the scattering molecule called molecular polarizability (ie dipole formation), inversely proportional to the fourth power of the wavelength of the incident light (blue light has highest scatter - thus blue sky!)
Scatter - Raman Scatter - (p 93 3rd ed) molecules undergo vibrational transitions at the same time as scatter occurs- if is transition to higher level is known as Stoke's Raman emission. Normally 1/1000th intensity of Rayleigh Scatter, but is significantly increased when using lasers for excitation.. Raman emission of water at 488 nm excitation is around 570-590 nm.
Polarizations - E vectors - larger changes in E vectors not incident light plane; Mie scattering - increased scatter in the forward angle for larger particles (1/4 wavelength to tens of wavelength). (p89, 3rd ed)

## Slide 3: Review
Incident light, reflected light, transmitted light, refractive index - note the angle of incidence = angle of reflection regardless of the material of surface. tt transmission angle depends upon the composition of material according to Snell's law of refraction n1 sin Ti =n2 sin Tt
n1, n2 are the refractive indices respectively through which the incident beam passes (air = 1 essentially)
Brewster's Angle, chromatic aberration, filters, interference, band pass, dichroic, absorption, laser blocker.
Fluorescence lifetime, polarization, fluidity, anisotrophy, resonance energy transfer, quenching, bleaching (p82 3rd ed)

## Slide 4: Light Propagation & Vergence
Considering a point source emission of light, rays emanate over 4pi steradians
If the ray of light travels through a length L of a medium of RI n, the optical path length S=Ln (thus S represents the distance light would have traveled in a vacuum in the same time it took to travel the distance L in the medium (RI n).
Rays diverge (because the come from a point source)
Vergence is measured in diopters
Shapiro p 93

## Slide 5: Image Formation
Object plane - (originating image)
Image plane - inverted real image
A real image is formed whenever rays emanating from a single point in the object plane again converge to a single point
Shapiro p 94

## Slide 6: Properties of thin Lenses
f
1
p
+
1
q
=
1
f
f
p
q
Resolution (R) = 0.61 x
l
NA
Magnification =
q
p
(lateral)
(Rayleigh criterion)

## Slide 7: Numerical Aperture
The wider the angle the lens is capable of receiving light at, the greater its resolving power
The higher the NA, the shorter the working distance
Shapiro p 96

## Slide 8: Numerical Aperture
Resolving power is directly related to numerical aperture.
The higher the NA the greater the resolution
Resolving power:
  The ability of an objective to resolve two distinct lines very close together
  NA = n sin m
  (n=the lowest refractive index between the object and first objective element) (hopefully 1)
  m is 1/2 the angular aperture of the objective

## Slide 9: Reminder: Impact of Numerical Aperture
For a narrow light beam (i.e. closed illumination aperture diaphragm) the finest resolution is (at the brightest point of the visible spectrum i.e. 530 nm)…(closed condensor).
NA
2 x NA

.00053
2 x 1.00
= 0.265 m
.00053
1.00
= 0.53 m
With a cone of light filling the entire aperture the theoretical resolution is…(fully open condensor)..

=
=

## Slide 10: Object Resolution
Example:
40 x 1.3 N.A. objective at 530 nm light
2 x NA

.00053
2 x 1.3
= 0.20 m
=
40 x 0.65 N.A. objective at 530 nm light
2 x NA

.00053
2 x .65
= 0.405 m
=

## Slide 11: What is the impact of NA on a flow chamber?
Collection of light from the particle is rather inefficient. Therefore, we need to have the most efficient possible optics – and as high an NA as possible.

## Slide 12: Reminder: Depth of Field and Resolution
Depth of field is designated as the longitudinal distance for the formation of a sharp image is obtained at a fixed point in the image plane
Limits of resolution are diffraction limited - the diffraction image is a point is a bright central spot surrounded by what is called the Airy disk (alternating light and dark rings)
at wavelength , the radius of the Airy disk is 0.61  Thus to resolve two points they need to be at least this distance apart (radius of the Airy disk) thus the resolution is defined as 0.61  /NA
Shapiro p 97

## Slide 13: Technical Aspects of Flow Cytometry
Illumination Sources
Lamps (not used any more in flow)
    Xenon
    Mercury
Lasers
    Argon Ion (Ar)
    Krypton (Kr)
    Helium Neon (He-Ne)
    Helium Cadmium (He-Cd) (rare)
    YAG
    Solid state lasers
    Diodes

## Slide 14
Elite Cytometer (top down view)
with 4 Lasers (circa 1990-2005)
Mirror
395 longPass
He-Cd Laser 325/441
Argon Laser 353/488 nm
(High speed sorting)
He-Ne Laser 633 nm
Argon Laser 488 nm
633 Beam Splitter
UV\Beam Splitter
325 nm
353 nm
633 nm
488 nm
Height Translators
Optical bench
Complicated
and difficult to align

## Slide 15: Elite Cytometer with 4 Lasers
Water cooled argon laser
He-Cd laser
Air-cooled argon laser
Santa clause
He-Ne laser

## Slide 16
Optical Design Elite-Altra
PMT 1
PMT 2
PMT 5
PMT 4
Dichroic
Filters
Bandpass
Filters
Laser
Flow cell
PMT 3
Scatter
Sensor
Sample
Diagram originally made in 1990

## Slide 17: Coulter Optical System - Elite
The Elite optical system uses 5 side window PMTs and a number of filter slots into which any filter can be inserted
555 - 595
PMT4
APC
655 - 695
PMT6
PMT7
4
9
0
D
L
488 BK
0
5
5
D
L
6
2
5
D
L
675 BP
488 BP
525 BP
575 BP
Purdue Cytometry Labs
PUCL3034
632 BP
TM
PMT3
PMT2
PMT1
PMT5

## Slide 18: Coulter Optical System - Elite
Filter slots
PMTs
Light Scatter Detector
Emply PMT
slot

## Slide 19: Detection Systems- Bio-Rad Bryte HS
Fluorescence Detectors and Optical Train
Dsc00050.jpg
PMTs
Excitation dichroic filter
Fluorescence signal viewing telescope
Fluorescence emission filters
Light source

## Slide 20
Sample Inlet
Microscope
Objective
Microscope
Objective
Excitation
Filter
Block
Emission
FilterBlock
Forward Angle
Scatter PMT
Large Angle
Scatter PMT
“Red”PMT
“Green” PMT
Retractable
Mirror
Ocular
Slit
Slit
Lamp Housing
The Bryte Optical Layout
“Orange” PMT
Emission
Filter
Block
Retractable
Mirror
Ocular

## Slide 21: Bryte HS Optical System
Water
Flow
Cells
Cover Glass
Scatter Objective
Immersion Oil
Xenon Light
Fluorescence
Objective
Water
Flow
Dark
Field
Light
Light
Focus
Dark Spot

## Slide 22: FC500
Laser
Laser
Flow Chamber
FALS detector

## Slide 23: FC500
Light from cell
PMT
Dichroic or band pass

## Slide 24: Amnis

## Slide 25: FACStar Plus (1990s)

## Slide 26: FACS Vantage

## Slide 27: BD FACSAria

## Slide 28: FACSAria (2000s)

## Slide 29: FACSAria

## Slide 30: ThermoFisher Attune

## Slide 31: ThermoFisher Attune
Lasers
Optical
filters
Flow chamber

## Slide 32: Abbott Cell Dyn

## Slide 33: Beckman Coulter CYAN

## Slide 34: Beckman Coulter CYAN

## Slide 35: Beckman Coulter CYAN

## Slide 36: Beckman Coulter CYAN

## Slide 37: Beckman Coulter CYAN

## Slide 38: Cyan

## Slide 39: Beckman Coulter MoFlo or DXP

## Slide 40: Beckman Coulter MoFlo or DXP

## Slide 41: Sysmex-Partec - CyFLOW

## Slide 42: Sony Icyt -Reflection

## Slide 43: Beckman CytoFlex
3,4,5,6,+
Solid state lasers in a tiny space

## Slide 44: CytoFlex

## Slide 45: CYtoFlex (Beckman Coulter)
Fiber optic delivery

## Slide 46: CytoFlex (Beckman Coulter)
Wavelength Division Multiplexing

## Slide 47: Luminex Cytometer
Slide from Howard Shapiro

## Slide 48: Cytek- Aurora
48
Source: Cytek Aurora User’s Guide, N9-20006 Rev. B, June 2019
(DE)

## Slide 49: ACEA Quanteon Instrument

## Slide 50: Quanteon uses SiPMs

## Slide 51: Agilent-ACEA - NovoCyte

## Slide 52: Comparison of Optical Systems

## Slide 53: Sony 6800 Spectral

## Slide 54: Purdue Spectral system - FC500
Fiber to
spectrometer

## Slide 55: Purdue Spectral systemFC500
Scatter signals Controller
32 Ch PMT
64 Ch electronics

## Slide 56: Summary Slide
Light propagation and image planes
Polychromatic instruments use optical filters to separate the spectrum
Each cytometer has a different optical path
Different instruments specialize in certain detection methods
Some instruments use PMTs, other APDs and even some use SiPMs
All instruments are capable of using more than one laser, but some can use up to 7
Spectral instruments have very different optical pathways to polychromatic instruments