## Slide 1
ANALYSIS OF IMMUNOFLUORESCENCE
AND MULTIPARAMETER DATA
Carleton C. Stewart, PhD
DEPARTMENT OF HEALTH, STATE OF NEW YORK
ELM AND CARLTON STREETS
BUFFALO, NY 14263
phone 716-845-8471
FAX 716-845-8806
email:stewart@sc3101.med.buffalo.edu
R
ARK
L
L
OSWE
P
L
Cancer Institute
aboratory
Flow
of
Cytometry
and Sigrid J. Stewart

## Slide 2
CELLULAR ANTIGENS
Sensory
Adhesion
Metabolic

## Slide 3
ONE COLOR IMMUNOPHENOTYPING
Antibodies Labeled with Fluorescein

## Slide 4
SINGLE COLOR IMMUNOFLUORESCENCE
1. Ig Block
MAB
•
FL-second antibody F(ab')
2
•
2. Ig Block
B-MAB
•
FL-Avidin
•
3. Ig Block
FL-MAB
•
•
=
wash

## Slide 5
CORRELATED (LIST MODE)
DATA ACQUISITION
Entry No.
Value
Cell Number
Parameter
1
2
3
4
5
6
7
8
-
-
-
k
80
100
40
20
90
120
100
110
50
75
110
120
1
1
1
1
2
2
2
2
n
n
n
n
FSC
SSC
Green
Red
FSC
SSC
Green
Red
FSC
SSC
Green
Red

## Slide 6
forward scatter
CD4 fluorescence
CD4 fluorescence
A
B
C
REGION A
REGION C
REGION B
NUMBER OF CELLS

## Slide 7
WAYS ANTIBODIES
BIND TO CELLS
Specific:
Fab to epitope
Fc to Fc receptor
binding is high affinity and saturable
Non Specific:
binding is low affinity and not saturable

## Slide 8
Specific Activity
is the concentration of
bindable antibody to its
epitope divided
by the protein
concentration.
SA = {F(ab')2}
(protein)

## Slide 9
Reasons antibodies do not
bind to cells:
1. overconjugation
2. not purified
3. degradation of binding site
4. aggregation

## Slide 10
Storing of antibodies:
Proteases destroy antibodies in:
• ascitic fluid
• serum
• bacteria
Use sodium azide
Use highly purified albumin or
gelatin as carrier
Purify antibodies in ascitic fluid
immediately

## Slide 16
VERIFICATION OF BLOCK
• FcR and non-specific binding
FL-MAB + PE-mIgG
gIgG + FL-MAB + PE-mIgG

## Slide 17
EFFECT OF BLOCKING ON MAB BINDING
TO MONONUCLEAR CELLS
CELL VOLUME
L
O
G
F
L
U
O
R
E
S
C
E
N
C
E

## Slide 18
R
E
L
A
T
I
V
E
N
U
M
B
E
R
O
F
C
E
L
L
S
CHANNEL NUMBER
0
64
128
192
256
UNBLOCKED
1µg
3 µg
9 µg

## Slide 19
SECOND REAGENT QUALITY
F(ab’)2 of anti IgG
anti IgG
cell volume
log fluorescence

## Slide 20
VARIATION IN GAMMA 1 MYELOMA PROTEIN BINDING TO MACROPHAGES
PERCENT POSITIVE

## Slide 21
DEAD CELLS CAN BE A PROBLEM
• They bind antibodies nonspecifically
• They masquerade as specific subsets
• They cause data misinterpretation

## Slide 22
ANTIBODIES BIND NON-SPECIFICALLY
TO DEAD CELLS
PE-LAMBDA
FL-KAPPA
A
B
ALL CELLS
VIABLE CELLS
10
10
3
10
4
10
1
10
2
0
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
10
3
10
4
10
1
10
2
10
0
dead cells

## Slide 24
EVALUATING VIABILITY
WITH ETHIDIUM MONOAZIDE
EMA
forward scatter

## Slide 25
TWO COLOR IMMUNOPHENOTYPING
Antibodies labeled with fluorescein
Antibodies labeled with phycoerythrin

## Slide 27
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
compensated
uncompensated
fluorescence 2
fluorescence 1

## Slide 28
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
partially
compensated
uncompensated
fluorescence 2
fluorescence 1
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
fully
compensated
COMPENSATION IS
INTENSITY DEPENDENT

## Slide 29
TWO COLOR IMMUNOFLUORESCENCE
1. Ig Block + MAB • FL-second antibody F(ab’) •
Ig Block + PE-MAB •
2. Ig Block + B-MAB + FL -MAB • PE-Avidin •
3. Ig Block + FL-MAB + PE-MAB •

## Slide 30
COMBINED INDIRECT AND DIRECT
IMMUNOFLUORESCENCE STAINING
NO BLOCKING
Primary Antibody: mMAB
Second Antibody: FGAM
PE-mMAB

## Slide 31
10
3
10
4
10
1
10
2
0
10
PE-CD4
CD8 + FGAM
NO BLOCK
10
3
10
4
10
1
10
2
10
0
49%
6%
21%
10
3
10
4
10
1
10
2
0
10
PE-CD4
CD8 + FGAM
BLOCK
10
3
10
4
10
1
10
2
10
0
42%
12%

## Slide 32
VERIFICATION OF BLOCK
Second Reagent Block
gIg + MAB • FL-GAM • PE-mIg
gIg + MAB • FL-GAM • mIg + PE-mIg

## Slide 33
THREE COLOR IMMUNOPHENOTYPING
Antibodies labeled with
Fluorescein
Antibodies labeled with
Phycoerythrin
Antibodies labeled with
Tandem Complex
to Avidin
Tandem Complexes are Texas Red or
CY 5 coupled to Phycoerythrin
Per CP is a natural Tandem Complex of
peridinin and chlorophyll a protein

## Slide 34
10
3
10
4
10
1
10
2
10
0
10
3
10
4
10
1
10
2
10
0
10
3
10
4
10
1
10
2
10
0
number of cells
CD3
CD4
CD8
SINGLE COLOR HISTOGRAMS

## Slide 35
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
TWO COLOR PATTERN
CD3
CD3
CD8
CD4
A
B

## Slide 36
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
THREE COLOR PATTERN
FSC
CD3
CD4
SSC
A
B
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
CD4
CD4
CD8
CD8
C
D
ALL CELLS
ALL CELLS
ALL CELLS
CD3+ CELLS

## Slide 37
POPULATIONS RESOLVED
BY THREE ANTIBODIES
up to 8 populations can be resolved
for each additional panel
FL-Ab
PE-Ab
TC-Ab
+
+
+
+
+
-
+
-
+
+
-
-
FL-Ab
PE-Ab
TC-Ab
-
+
+
-
+
-
-
-
+
-
-
-

## Slide 38
THREE COLOR IMMUNOFLUORESCENCE
1. Ig Block + MAB •
B- second antibody F(ab')
2
• Ig Block + FL- MAB + PE-MAB + TC- Avidin •
2. Ig Block + FL-MAB + PE-MAB + B-MAB •
TC-Avidin •
3. Ig Block + FL-MAB + PE-MAB + TC-MAB •
TC(third color) = PE/TR or PE/CY5 tandem or PerCP

## Slide 39
STRATEGY FOR SELECTING FLUOROCHROME:
EPITOPE DENSITY
FLUOROCHROME
Low
phycoerythrin
low-intermediate
tandem
high
fluorescein

## Slide 40
COMPENSATE INSTRUMENT USING STAINED CELLS
1. Adjust PMT voltages using unstained cells
2. Adjust compensation for each fluorochrome

## Slide 41
THREE COLOR COMPENSATION
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
PE-CD4
PE-CD4
TC-CD8
FL-CD45
half
each
side
half
each
side

## Slide 42
CELLULAR COMPENSATION STANDARD
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
PE-CD4
TC-CD8
FL-CD45
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
10
3
10
4
10
1
10
2
0
10
10
3
10
4
10
1
10
2
10
0
CURRENT
PREVIOUS

## Slide 43
FL-mab
+
PE-mab
+
TC-mab
50 µl
washed, and
blocked*
whole blood or
bone marrow
15 min. on ice
lyse,
centrifuge,
decant,
blot,
and
resuspend
pellet
wash,
fix,
and
analyse
THREE COLOR SOP
*add 10 µl mIg (10 mg/ml) to 1 ml washed whole blood.

## Slide 44
THIRD COLOR REAGENT
PROPERTIES TO CONSIDER
• monocyte binding
PE-CY5
• light sensitivity
PE-CY5 and PerCP
• batch variation
PE-TR and PE-CY5

## Slide 45
0
256
512
768
1024
/6/05133061
SSC ->
LEUKEMIA GATE USING CD45
NORMAL BONE MARROW
10
10
10
10
10
0
1
2
3
4
/6/05133061
HLADr ->

## Slide 46
0
256
512
768
1024
/7/06064121
SSC ->
10
10
10
10
10
0
1
2
3
4
/7/06064121
HLADr ->
LEUKEMIA GATE USING CD45
LEUKEMIC (TALL) BONE
MARROW