## Slide 1: DNA1.ppt

## Slide 2: DNA Probes
Key feature of DNA probes is that they are STOICHIOMETRIC - thus number of molecules of probe bound is equivalent to number of molecules of DNA

## Slide 3: Action of DNA Probes
Phenanthridiniums
  Propidium Iodide
  Ethidium Bromide
Intercalate between bases in DS nucleic acids
Excite in the UV or Blue with red emission
Bind DS RNA - must be treated with RNAse for DNA measurements to be correct

## Slide 4: DNA PROBES
N+
C2H5
NH2
NH2
Ethidium
N+
C2H2)3
NH2
NH2
N+
C2H5
CH3
C2H5
Propidium

## Slide 5: Action of DNA Probes
Benzimides
  Hoechst 33342
Binds to the A-T rich regions in the small groove of DNA
UV excitation with blue emission
Red emission if exceed optimal concentration
Antibiotics
  Mithramycin, Chromamycin A3
  Bind the G-C rich regions of DNA

## Slide 6: Action of DNA Probes
Acridine Orange - AO
  Intercalates into the DS DNA
  Binds to single stranded nucleic acids by stacking on the charged phosphates
  Blue excitation and green emission for DS DNA
  Red fluorescence emission for SS DNA
Pyronyn Y is a related dye to AO
  Used for RNA measurement after blocking DNA with non-fluoresceinated DNA probe

## Slide 7: The Cell Cycle
G1
M
G2
S
G0
Quiescent cells

## Slide 8: Definitions & Terms
Ploidy
  related to the number of chromosomes in a cell
Haploid: Number of chromosomes in a gamete (germ cell) is called the HAPLOID number for that particular species
Diploid: The number of cells in a somatic cell for a particular species

## Slide 9: Definitions & Terms
Hyperdiploid: greater than the normal 2n number of chromosomes
Hypodiploid: Less than the normal 2n number of chromosomes
DNA Tetraploidy: Containing double the number of chromosomes

## Slide 10: Definitions & Terms
DNA Index: The ratio between the mode of the relative DNA content of the test cells (in G0/G1phase) to the mode of the relative DNA content in normal G0/G1 diploid cells
Coefficient of Variation - CV: The ratio between the SD of the mode of the G0/G1 cell populations expressed as a percentage.

## Slide 11: DNA Analysis
FALS
FLUORESCENCE
Fluorescence
Forward Scatter
Forward Scatter
Side Scatter
Forward Scatter
Fluorescence

## Slide 12: A typical DNA Histogram
G0-G1
S
G2-M
Fluorescence Intensity
# of Events

## Slide 13: Analyzing the DNA Histogram

## Slide 14: Doublet Discrimination
Integral Fluorescence
Integral Fluorescence
Peak Fluorescence
Peak Fluorescence
8 x 125 m laser beam shape
16 x 64 m laser beam shape
Clumps

## Slide 15: PI Labeled Nuclei
Badly stained
Properly stained
DNA
Incubated additional 10 mins
at 37°C

## Slide 16: Population gating
Forward Scatter
Side Scatter
Note: Less cells