Form FC-6

| Pipette Calibration Form |
| --- |
| Institution: | Department: |
| Pipette #: | Acceptable Range: |
| Calibration Method: Gravimetric |
| Balance Used: |
| Evaporation Factor: | Acceptable Results?: Y N |
| Placed in Service?: Y Date: Discarded Date: |
| Calibration Results |
| # | Replicates |  |  | Calculations |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
|  | Mean= |  |  | Mean – Evap Factor = |
|  |  |  |  | Accuracy = Mean Volume – Ideal Volume x 100 = % Ideal Volume |
| Use additional pages as needed |
| Prepared by: | Date: |
| Reviewed by: | Date: |

Standards:  493.121