Anti CD19 antibodies

- BD biosciences has a very good anti CD19 Ab and isotype. It works fine . The details can be seen at their website

- In my experience, the intensity of CD19 PE (BDIS or Dako) fluorescence is pretty nice.  The CD19 PerCP Cy5.5 (available from BDIS) works well.  CD19 APC (from BDIS or Caltag) has pretty good staining intensity, too.

- The CLL phenotype generally is dim, and discrimination can be difficult, especially if using CD19 conjugated to FITC fluorochrome, and we try not to use CD19 FITC

- I can recommend our enzymatic amplification staining (EAS) technology to enhance the specific signal obtained from anti-CD19 and anti-IgD staining. Please check out our website (www.flow-amp.com).  The site contains references that include data obtained with our EAS kits, examples of specific fluorescence signal amplification (10-100 fold enhancement), protocol books, and contact information.  We have a distributor in the UK (Tebu, TOTAM Biologicals Ltd; Unit 7; Flag Business Exchange; Vicarage Farm Road; Peterborough; Cambs PE1 5TX Tel: 01733 421880; Fax: 01733 421882; E-Mail: info@totam-bio.co.uk).

- I assume you have tried all the CD from us (Sent by a friend at Coulter) CD 19 is not the strongest of markers but it should give a good positive negative separation especially with a washed sample. If you just want mature B cells I would use CD20 which is at least 1.5 decades brighter than CD 19

- More or less any commercial CD 19 should give you a very clear cluster separation as a B-cell marker on fixed and unfixed cells. Do you get them to work in fixed/lysed blood? What lysis system do you use?

- I finally found Coulter's CD19 conjugated to PC5 (their version of PE-Cy5) that did a very good job. Good separation and good numbers. It's catalog # IM2643 and clone # J4.119. I've also used the FITC conjugate of that same clone with similarly satisfactory results (Cat.# IM1284).

- I think you have a problem and it might not be the conjugate.  CD 19 on B cells (PBMC) is done many times a day with out fail around the world.

- I'm assuming you've already had some feedback, . ...  As for CD19, that should be fine as a FITC.

- We routinely use CD19-FITC from Dako (sorry I don't know the catalog #) and get very good results.  Good luck.

Anti IgD antibodies

- Our lab uses IgD FITC (from Biosource, Int.)  Biosource International is in Camarillo, CA   USA  1.800.242.0607 The have a nice catalog and the catalog number/ID for the IgD FITC is AHI 1208

- I can recommend our enzymatic amplification staining (EAS) technology to enhance the specific signal obtained from anti-CD19 and anti-IgD staining. Please check out our website (www.flow-amp.com).  The site contains references that include data obtained with our EAS kits, examples of specific fluorescence signal amplification (10-100 fold enhancement), protocol books, and contact information.  We have a distributor in the UK (Tebu, TOTAM Biologicals Ltd; Unit 7; Flag Business Exchange; Vicarage Farm Road; Peterborough; Cambs PE1 5TX Tel: 01733 421880; Fax: 01733 421882; E-Mail: info@totam-bio.co.uk).

- I'd highly recommend the IgD PE from Southern Biotech Cat no 1120-09. We did some fairly exhaustive experiments looking at B-Cell maturation and tried 2 or 3 FITC conjugates and found that they weren't bright enough to pull out the populations we wanted. However the PE Ab was just right.