## Slide 1: Liquid Biopsy and MIF update for Roche
Jan. 31, 2015
M. Yamamoto
J. Paul Robinson
Ｃｏｎｆｉｄｅｎｔｉａｌ

## Slide 2: IP Migration for “Next Generation Cytometry” Paradigm shift forwarding new cellular/intercellular analysis
Smaller Spot than cell/particle
Aberration-free Flow Chamber for Diffraction Limited Optics
High speed laser
scanning
Concept
Key technology
High speed devices
& electronics
Absolute shape & dimension
Features
Unique spatial location & Sensitivity
3D intra-cellular image
Hydrodynamic
Focused Plane
1st IP
Cell Tracking
2D Hydro-focus
Flow Chamber
High throughput
μ-fluidic chamber
flow-axis linear
movement
Time frame
observation
2nd IP
2-1 IP
3 Spots Scanning
3 spot scanning
Perpendicular to flow direction
Accurate flow velocity & V-scan
3rd IP
Smaller Spot Cytometry:
US filed in May ,2013
Filed in EP & JP Jan. ,2016
Multiple Cell Cytometry:
US filed in Dec.,2014
+ provisional
Hamamatsu Joint IP : combined PCT submission on Dec.,2015
Time Sequential Cytometry:
Provisional Jun.19,2015
Smaller spot cytometry
Multiple Cell cytometry
Time Sequential cytometry

## Slide 3: IP continued
Photo-reactive
Exposure
(Cell Cooking)
Higher power or
Different λ
Active Exposure
on cell map
Photo Reactive Cytometry:
7th IP
Micro Phase Imaging Cytometry:
Microscopic
Phase detection
8th IP
Interferometer
optics
Refractive Index
Thickness mapping
Nanoparticle detection
on reflective phase grating
Focused scanning
Laser spot on
Reflective phase
Grating in microfluidic channel
Measurement of
10~1000nm particle
quantitatively
Quantitative Micro Vesicle
Measurement Platform:
(US provisional Apr.,’15)
4th IP
Concept
Key technology
Features
Multi-color Fluorescence detection
by single photons
Focused Flying spot excitation and single photons detection
with spectro sensor
Analysis Fl of microparticles
and its origin
Single Photons Spectroscopy:
(US provisional Aug.28,’15)
5th IP
Micro particle cytometry
Single Photon cytometry
Reflective cytometry
6th IP
Reflective cytometry
Reflective Flow Chamber with in-focus gap & Optics
Reflective Chamber & Optics
Double path detection & conjugate optics

## Slide 4: Micro vesicles:
Gesicles: Microvesicle “Cookies” for Transient Information Transfer Between Cells
Xandra O Breakefield, Robert M Frederickson and Richard J Simpson
Transmission electron micrograph of the microvesicle shedding process from B16 mouse melanoma cells. Scale bar: 500 nm (personal original unpublished data) : web source

## Slide 5: The Key Issue : How to detect/observe micro vesicles to 10nm ? (beyond optical resolution)
<Conventional method>:
1) electron microscope: possible to observe nanostructure. Dry and dead in vacuum.
2) Brownian motion detection in suspension : commercialized as NanoSight.
3) Scattering : Flow cytometry or nanoparticle analysis instrument by scattering.
widely used, but limitation of detection size. Normal flow cytometry is
detectable >500nm. Nano particle analyzer is very complicated.
Advantage is possible to evaluate in suspension.
<Current status on micro vesicle measurement>:
There is no appropriate way to evaluate micro vesicle in clinical environment.

## Slide 6: Theory: Diffraction by reflective phase grating
m=±1 order is possible to capture at λ/p < 2NA :
CD : λ/p= 0.78/1.6 =0.487 < 2NA=2x0.45=0.9
DVD: λ/p= 0.65/0.78=0.833 < 2NA=2x0.60=1.2
Blu-ray: λ/p= 0.405/0.32=1.265 < 2NA=2x0.85=1.7
( “Near-Field Optical Data Storage”: Ferry Zijp, Philips,2007, ISBN978-90-9022391-9/NUR926), P.11

## Slide 7: Detected signal from phase grating(Push Pull Signal)
(A1+A2+A3+A4) = HF signal
(A1+A2) - (A3+A4) = Radial Push Pull
(A1+A3) – (A2+A4) = Tangential Push Pull
( “Near-Field Optical Data Storage”: Ferry Zijp, Philips,2007, ISBN978-90-9022391-9/NUR926), P.7 modifiy pit to groove)
R-PP
T-PP

## Slide 8: Experimental Disc with pitch 500nm L/G
Groove Zone r=38-42mm
Particle samples
Concentration ~E9/ml
~E6/ul
~E5/0.1ul
Drop and dry takes 3 ~8min.
Drop area is 5~6mm – hydrophilic or groove effect ?
Sample drop
Sample drop

## Slide 9: Signal detection by Blu-ray Tester

## Slide 10: HF(Yellow) & Push Pull(Red) Traverse signal

## Slide 11: Au 100nm detected signal & SEM picture:
HF
PP
HF
PP
Au 100nm HF & PP
Au 100nm SEM

## Slide 12: (2) Au 50nm detected signal & SEM picture:
Au 50nm HF & PP
Au 50nm SEM picture

## Slide 13: Au 30nm detected signal & SEM picture:
HF OUT
HF EQ
OUT
Au 30nm HF & PP
Au 30nm SEM picture

## Slide 14: Liquid Biopsy Work Flow
Sample IN
Whole blood
Cell Separation
staining
Microvesicles
Measurement
Sorting
Liquid biopsy
Slide glass shape LOC
Disk shape LOC
R-θ scanning
X-Y scanning
PCR
Targeted
Sequencing

## Slide 15: Quantitative microvesicles measurement system
500nm pitch
groove depth : 38 nm
Reflective layer
Polymer substrate
405nm NA0.85
Focused spot size = 0.39 um(1/e2)
Land
Groove
Micro vesicles
in medium
(plasma)
405nm
laser
Spectro Sensor
Focus &
Tracking Error Signal
Servo Drive
Fluorescence
405nm
Detection
< 50kHz
> 100kHz
Optical Fiber
HF
R-PP
T-PP
PMT
PMT
PMT
A/D converter
Memory
FPGA
CPU
Disk type
Slide type

## Slide 16: Microvesicle Disk cross section:
Substrate 1.1mm
Cover 100um
microchannel ~um
filter
Whole blood after pealing protective seal
plasma
Microchannel zone
with reflective grating
Label – product, instruction, logo, etc.
Plasma 1ul =1E9 um3= 10E7 Microvesicles
In case of gap 1um, measurement area:
1E9 um2 = 1,000mm2 =31.6x31.6mm
In case of 1millions particle. Measurement area:
10mm2=3.16x3.16mm
Disk r=38~42mm, area= 2010 mm2
Focus depth=λ/NA2=0.56um

## Slide 17: Plasma extraction (Noviplex): plasma/whole blood ~ 1/10
https://www.ssi.shimadzu.com/products/product.cfm?product=noviplex
1ul whole blood
→ 0.1ul plasma
→ 1E7 microvesicles
→ 100mm2/um gap area
→ 10x10mm area

## Slide 18: The relationship of the disc and the filter system and separation of plasma containing microparticles

## Slide 19: Showing how the read head would interact with the disc and its measurement location

## Slide 20: Example of possible reader unit with disk inserted

## Slide 21: Pioneer Drive is available in Feb. under NDA
BDR-209DBK
Pioneer provides drive control software.
-individual servo control is possible.

## Slide 22: Disposable Glass Chip with 1um gap
Reservoir channel
Inlet channel
Inlet 0.5mm & 1um gap
Inlet hole sub-side
0.5mm dia.

## Slide 23: Channel Filling Flow : ~3mm/s(impressive !!)

## Slide 24: DADC Disc Manufacturing for Liquid Experiment:
DADC developed special substrate with ~um gap channel with 500nm L/G.
100um glass cover is applied for 1st experiment.
1st experiment is planned at Purdue Technology Center soon.
DADC kindly provides Disc, BD MASTER(reference drive) and Digital Oscilloscope.
We will prepare several samples;
- gold nanoparticle - Polymer nanoparticle
- IgG albumin
- Microvesicle/Plasma and different refractive index medium
- others
6. This is the first liquid evaluation by 250nm FWHM spot/405nm.
BD MASTER can evaluate both chip & disc

## Slide 25: Photon Detection <1ns or ~1Hz dark & Photon Analysis
uPMT dark count ~1Hz
SiPM photon pulse =600pS

## Slide 26
Chart: Power vs. Number of Photon at 405/488/561/638nm
| 1E-3 | 1E-4 | 1.0000000000000001E-5 | 9.9999999999999995E-7 | 9.9999999999999995E-7 | 9.9999999999999995E-8 | 1E-8 | 1.0000000000000001E-9 | 1E-10 | 9.9999999999999994E-12 | 9.9999999999999998E-13 | 9.9999999999999998E-13 | 1E-13 | 1E-14 | 1.0000000000000001E-15 | 9.9999999999999998E-17 | 1.0000000000000001E-17 | 1.0000000000000001E-18

 | 2037150000000000 | 203715000000000 | 20371500000000 | 2037150000000 | 2037150000000 | 203715000000 | 20371500000 | 2037150000 | 203715000 | 20371500 | 2037150 | 2037150 | 203715 | 20371.5 | 2037.15 | 203.715 | 20.3715 | 2.0372

 | 2454640000000000 | 245464000000000 | 2.4546e+13 | 2454640000000 | 2454640000000 | 245464000000 | 24546400000 | 2454640000 | 245464000 | 24546400 | 2454640 | 2454640 | 245464 | 24546.4 | 2454.64 | 245.464 | 24.5464 | 2.4546

 | 2821830000000000 | 282183000000000 | 2.8218e+13 | 2821830000000 | 2821830000000 | 282183000000 | 28218300000 | 2821830000 | 282183000 | 28218300 | 2821830 | 2821830 | 282183 | 28218.3 | 2821.83 | 282.183 | 28.2183 | 2.8218

 | 3209140000000000 | 320914000000000 | 3.2091e+13 | 3209140000000 | 3209140000000 | 320914000000 | 32091400000 | 3209140000 | 320914000 | 32091400 | 3209140 | 3209140 | 320914 | 32091.4 | 3209.14 | 320.914 | 32.0914 | 3.2091
1nW x nCH
1fW
Dark Count
Smaller area
Cooling half each 8deg cool
SiPM counting limit ~1GHz at E+4 gain
uPMT counting limit, 5uA ~300MHz at E+5 gain
FC500 FL Total

## Slide 27: Single Photon Detection IP (Aug.,15) & Phase 1 submission
Reflective layer
Land
Groove
Micro vesicles
in medium
(plasma)
a
b
c
d
Fluorescence
Band Pass Filter
xN
Detector
Beam splitter
Radial
Track
4split detector
HF=
a+b+c+d
TPP=
(a+b)-(c+d)
RPP=
(a+c)-(b+d)
Matrix amp
Amp
Discriminator
Delete
thermal noise
Laser
Comparator
Gating
Ptn from
Particle
Counter
(integrator)
A/D
Fluorescence
Analysis
Particles
Analysis
Size
Number
Shape
Focus
Tracking Control

## Slide 28: 16CH Hyperspectrum Experiment

## Slide 29: Observed 16CH spectrum by APD
-Spectrum profile can adjust peak value easily.
-Rainbow bead peak is slightly lower level to Highlighter Y-G, not big difference
No.19 is observed by uPMT

## Slide 30: Firstly observed Photon-Dots of Rainbow Bead in Flow
SS: delayed timing
FL photon signal
No dye particle
Very low background photon due to Quartz ?
Separated spot
uPMT HV=950V
include
1PE~10PE
No.7
No.3

## Slide 31: MIF-2 Data Acquisition System (8/16CH,16bit,160/80MHz=20.48Gbps with 3.0TB SSD)

## Slide 32: NIH Direct Phase 2 re-submission completed in Jan.,16:

## Slide 33: New Topics for collaboration

## Slide 34: Summary:
Many progress has been achieved and on-going development on micro particle detection.
Scanning small laser beam flow cytometry is awarded by NIH Phase 1.
We submitted Phase 2 Award in Jan.,2016.
Micro particles detection are re-submitted as Direct Phase 2 (Disc) and Phase 1 (chip).
AGC Glass chip shows impressive capillary action with 1um gap.
Pioneer and Sony DADC provides drive, disc, etc. – we will start liquid experiment soon.
We developed 16CH Hyper spectrum and expand to 42CH soon. Combined with FC500 experiment is on-going.
Photon detection technology is progress – 1 Hz dark count and 0.6ns photon pulse.
MIF2 data acquisition system 20.48Gbps is completed soon.
We are welcome to discuss with Roche on the future opportunities.