## Slide 1: Frontiers in Cytometry still Exist!
@Cytometryman
Home of the Purdue Cytometry Mail-list est 1989
cytometry@lists.purdue.edu
J. Paul Robinson
The SVM Professor of Cytomics
Professor of Biomedical Engineering
Director, Purdue University Cytometry Laboratories

## Slide 2: Purdue University Cytometry Laboratories Acknowledgements
Contributors
  Staff Engineer: Valery Patsekin
Graduate Students: Awais Mansoor, Angela Wolf, Fiona Thomas, Anthony Pedley,
Undergrad Students: Nicole Lewis, Peter Carlsgaard, Esther Foo, Eric Zigond,
Postdocs: Ewa Biela
Faculty: Bartek Rajwa, Euiwon Bae, J. Paul Robinson
Data and collaborations with: Gary Nolan Lab (Stanford), David Hedley (Toronto), Bernd Bodenmiller (Zurich), Paul Wallace (Buffalo)
Staff
  Jennie Sturgis (Imaging)
  Kathy Ragheb (Flow)
Funding:
NIH, NSF, USDA, Purdue University
Corporate: Beckman-Coulter, Point-Source, Parker-Hannifin, Polysciences, Bangs labs, Roche, MediaCybernetics, Q-Imaging, Kodak Medical Systems, Crystalplex, Becton-Dickinson , Sony Life Sciences,
eBioscience, ITG Indiana, Roche, Edmund Optic, Perkin Elmer, Digilab Inc., Spherotech, Inc., Intellicyt, Inc
Research reported in this presentation was supported by the National Institute of General Medical Sciences & the National Cancer Institute of the National Institutes of Health under Award Numbers 1R56AI089511-01, R21RR033593-01 & 1R33CA140084. The content is solely the responsibility of the authors and does not necessarily represent the official views of the National Institutes of Health.
Some slides from Prof Silas Leavesley,
Dept. of Chemical Engineering, University of South Alabama

## Slide 3
IN SITU CHARACTERISATION OF THE MARINE MICROBE DYNAMICS THANKS TO HIGH FREQUENCY ANALYSIS
AT THE SINGLE CELL LEVEL: TOWARD NEW PARADIGMS
Grégori, G. J.; Dugenne, M.; Denis, M.; Thyssen, M.
Mediterranean Institute of Oceanography,
Aix-Marseille University, CNRS, IRD, Toulon University
Granada, Spain, 22-27 February 2015
Mediterranean Institute
of Oceanography
OSU Pytheas
Campus de Luminy, Marseilles (France)
https://precym.mio.univ-amu.fr/
Slide from Gerald Gregori
1

## Slide 4: Automated High Frequency in-situ (submersible or not) flow cytometers
 Fluorescence and light scatter intensities recorded for each particle (cell)
Imaging FlowCytobot (IFCB)
McLane Research Laboratories
Images
(Sosik et al.)
Cytosense flow cytometer
Cytobuoy b.v.
Optical pulses + Image in flow
(Thyssen et al.; Dugenne et al.,
Pommati et al.; Artigas et al., etc.)
SeaFlow cytometer
School of Oceanography, University of Washington
Continuous, real-time
shipboard observations
of phytoplankton cells
(Ribalet et al.)
Slide from Gerald Gregori

## Slide 5
High frequency sampling
remotely controlled
(satellite, internet, Wifi)
(hundreds of samples)
Days
Thyssen et al., 2014. Frontiers Mic., 5.
Dugenne et al., 2014. Frontiers Mic., 5.
Dynamics of phytoplankton at a fixed station
Biovolume
Growth rate
- Berre Lagoon (NW Mediterranean) : M. Dugenne
Session 71, Thursday, 3:15 PM
Dynamique de Gymnodinium
2 div./j
1 div./j
Wind event
Automated flow cytometer on multi-instrumental platform
Sampling frequency
adaptation (sudden event)
Abundance
Picophytopk (Euk)
Nanophytoplankton
Microphytoplankton
Rain
Nitrates
Days
- EOL Buoy (NW Mediterranean) : M. Thyssen (this session)
Need for automated
data analysis (clustering)
+
Data mining

## Slide 6
World’s fastest valve performs sorting
No sheath fluids or aerosols
Keep cells and operator safe with sterile, disposable, closed cartridge system
No cleaning or carryover between sorts
Provides low stress to cells, high cell viability
Cell throughput up to 200M cells/hour
  55k cells/s
8-color fluorescence-based sorting
4C – 37C temperature operation
“Walk-away” fluorescent cell sorting
Owl Biomedical Microchip Sorting
Tyto Microchip
Tyto Cartridge
Slide from Jack Dunne
Miltenyi Biotech
2

## Slide 7: K562 Sorting from Background High Speed Video

## Slide 8: Bruce Bagwell’s Probability State Modeling
Slide from Bruce Bagwell
3

## Slide 9
Slide from Bruce Bagwell

## Slide 11: Sony Chip Technology
4

## Slide 12: What if you could measure (almost) any color without changing any filters??
Hyperspectral
Cytometry

5

## Slide 13: Let’s talk about remote sensing…
The problem: how to classify objects in images of low spatial resolution?
Solution: use the spectral signature of individual pixels and classify them into categories.
1960 – the successful launching of the first weather satellite, TIROS-1.
1961 – the National Academy of Science through its National Research Council formed a committee on "Aerial Survey Methods in Agriculture“
1964 – Purdue, UC/Berkeley, and Michigan consortium starts developing methods for remote sensing
1966 – First multispectral pattern recognition methods capable of identifying individual crop species demonstrated by the Purdue researchers (Professor David Ladgrebe).
This became LANDSAT series of Earth satellites and is the basis for a new generation of instruments carried on Space Station platforms in the 1990's.
History of Multispectral Imaging A Purdue solution – Prof David A. Landgrebe
Notes: The Michigan effort concentrated upon building and operating an airborne data collection system.
The UC/Berkeley group focused on perfecting manual data analysis schemes.
Purdue's focus was to be upon machine data-analysis methods and upon agricultural applications.

## Slide 14: Spectral imaging in remote sensing from the 1960’s
http://rst.gsfc.nasa.gov/Intro/Part2_5.html
Key Wavelengths

## Slide 15: Color composition is a mixture of spectral bands
Proc. SPIE Vol. 4056, p. 50-64, Wavelet Applications VII, Harold H. Szu, Martin Vetterli; William J. Campbell, James R. Buss, Ed.
A photo of
the blocks
A “reconstruction”
A “reconstruction”
The Lego block explanation of spectral imaging!

## Slide 16: Reflection Example
Dutch Boy paint cards
Colors difficult to distinguish by visual inspection

## Slide 17: Reflection Example – Clustering
Distinctly separable spectra?
YES!

## Slide 18: Reflection Example – Clustering
PCA Density Plot From Cytospec Software (Purdue)
Cytospec Software free download
http://www.cyto.purdue.edu/Purdue_software
PCA-2
PCA-1

## Slide 19: Reflection Example – Clustering
PCA Density Plot From Cytospec Software (Purdue)
Cytospec Software free download
http://www.cyto.purdue.edu/Purdue_software

## Slide 20: Fluorescence Example
+
=
Excitation = 488 nm
Emission = 510-750 nm
Δλ ≈ 4 nm
PCA
Density plot
Reflected Image
Gated Analysis
Spatial + Chemical Information
Post-acquisition analysis performed by Valery Patsekin, PUCL
Nile Red
Nile Red

## Slide 21: Spectral Image Processing
Clustering
  Little or no a priori information
  Examples: Isodata, statistical (PCA), …
Classification
  Usually requires a training set
  Examples: Spectral angle mapper, maximum likelihood, minimum Euclidean distance, …
Unmixing
  Sub-pixel method
  Examples: Linear unmixing is the most common

## Slide 22: 4 colors - simultaneous collection
Emission wavelength (nm)
530 580 630 680 730 780
FITC
PE
PE-
TR
PE-CY5
System requires complex color compensation
Review

## Slide 24: Basic gating and analysis
90 LS
FS
Selecting the “best” dye combinations is possibly the most time consuming and difficult aspect of polychromatic cytometry

## Slide 25
Cell
Fingerprint

## Slide 26
Spectral Signature
Match Signature
Resolution of data point
One full spectra per particle
λ
Cell#

## Slide 27: Multicolor (polychromatic) vs. multispectral cytometry (I)
Single intensity as a parameter (usually)
Spectrum as a parameter

## Slide 28: High-resolution cytology segmentation
Conventional
RGB Image
Spectrally
segmented Image
Wavelength (nm)
Characteristic
Spectra
High spectral resolution increases utility of spectrally responsive indicator dyes
Slide from Dr. Richard Levenson, CRi, Inc.,35B Cabot Rd.,Woburn, MA 01801, www.cri-inc.com
Notes: Sensitive to very small changes in spectroscopic properties that would not be reliably detected by non-imaging spectroscopic techniques, and not by standard color-based imaging systems.

## Slide 29: High-resolution cytology segmentation
Conventional
RGB Image
Spectrally
segmented Image
Wavelength (nm)
Characteristic
Spectra
High spectral resolution increases utility of spectrally responsive indicator dyes
Slide from Dr. Richard Levenson, CRi, Inc.,35B Cabot Rd.,Woburn, MA 01801, www.cri-inc.com
Notes: Sensitive to very small changes in spectroscopic properties that would not be reliably detected by non-imaging spectroscopic techniques, and not by standard color-based imaging systems.

## Slide 30: Spectral “unmixing”
Chart: 
| 503.3507257235628 | 505.9399352541519 | 508.5594620594992 | 511.2098627816725 | 513.8917080345044 | 516.605582849698 | 519.3520871402624 | 522.131836182098 | 524.9454611145007 | 527.793609460572 | 530.676945668336 | 533.5961516736665 | 536.5519274859676 | 539.544991797757 | 542.5760826192125 | 545.6459579390456 | 548.7553964128256 | 551.9051980801999 | 555.0961851124279 | 558.3292025916984 | 561.6051193238992
 | 0 | 4.195 | 15.2447 | 79.6005 | 125.7999 | 121.2289 | 109.3959 | 105.2592 | 96.9893 | 94.7328 | 88.1805 | 76.9602 | 73.4399 | 70.2296 | 65.5655 | 59.6529 | 52.8253 | 46.591 | 40.124 | 32.4668 | 23.0455
 | 0 | 2.6133 | 9.7955 | 40.0163 | 77.4286 | 87.1547 | 91.5799 | 98.9612 | 100.2772 | 102.4503 | 95.6528 | 83.9945 | 77.4935 | 73.3741 | 66.9889 | 59.1673 | 52.4716 | 47.3885 | 43.334 | 36.6847 | 28.5943
Human lymphocytes
FITC filter block
Unmixed
DiOC6(3)
And bis-oxonol
Dye 1: bis-(1,3-dibutylbarbituric acid)trimethine oxonol, DiBAC4(3)
Dye 2: 3,3'-dihexyloxacarbocyanine iodide, DiOC6(3)
Green
Green
Before
After
Cell
Fingerprint

## Slide 31: Multispectral Cytometry. Why?
Identification of multiple spectrally overlapping stains (multiplexing)
Spectral barcoding
Potential capability of spectral un-mixing (multiple stains in a single particle)
Identification of intrinsic (autofluorescence) fluorescence
Opportunity for intelligent systems approach to classification

## Slide 32: Advanced polychromatic cytometry
41 filters
14 PMTs
Hyperspectral cytometry
spectrometer
How do you do collect current cytometry?

## Slide 33: Hyperspectral Single Cell Cytometry
10 μs available
10,000-100,000 cells
64 ch ADC`
First built in our lab in 2002-2003

## Slide 34: Principle of Operation
US & foreign patents pending

## Slide 35: A 32 Ch PMT detector

## Slide 38: Spectral plots
5-(and-6)-carboxy-2´,7´-dichlorofluorescein diacetate (CDCFA)
5(6)-carboxy-4',5'-dimethylfluorescein (CDMFA)
5-sulfofluorescein diacetate (SFDA)
Cell Tracker Green – 5-chloromethylfluorescein diacetate (CTG)
5-(and-6)-carboxy-2´,7´-dichlorofluorescein diacetate, succinimidyl ester (DCF)
bis-(1,3-dibutylbarbituric acid)trimethine oxonol (DiBAC4(3))
3,3'-dipentyloxacarbocyanine iodide (DiOC5(3))
3,3'-dihexyloxacarbocyanine iodide (DiOC6(3))
Rhodamine 110
1
2
3
4
5
6
7
8
9
400---------750nm
400---------750nm
400---------750nm

## Slide 39
5-(and-6)-carboxy-2´,7´-dichlorofluorescein diacetate (CDCFA)
5(6)-carboxy-4',5'-dimethylfluorescein (CDMFA)
5-sulfofluorescein diacetate (SFDA)
Cell Tracker Green – 5-chloromethylfluorescein diacetate (CTG)
5-(and-6)-carboxy-2´,7´-dichlorofluorescein diacetate, succinimidyl ester (DCF)
bis-(1,3-dibutylbarbituric acid)trimethine oxonol (DiBAC4(3))
3,3'-dipentyloxacarbocyanine iodide (DiOC5(3))
3,3'-dihexyloxacarbocyanine iodide (DiOC6(3))
Rhodamine 110

## Slide 40: Confusion matrix
CDCFA
CDMFA
SFDA
CTG
DCF
DiBAC43
DiOC5(3)
DiOC6(3)
RH110
CDCFA
87.92%
0.00%
0.76%
2.72%
0.00%
6.04%
1.92%
0.64%
0.00%
CDMFA
0.24%
97.76%
0.52%
0.04%
0.00%
0.00%
0.16%
0.88%
0.40%
SFDA
0.04%
0.00%
94.36%
4.88%
0.00%
0.00%
0.00%
0.72%
0.00%
CTG
5.44%
0.00%
5.04%
86.44%
0.00%
0.20%
0.80%
2.04%
0.04%
DCF
0.00%
0.00%
0.00%
0.00%
100.00%
0.00%
0.00%
0.00%
0.00%
DiBAC43
3.72%
0.20%
0.04%
0.40%
0.00%
92.76%
0.96%
1.92%
0.00%
DiOC5(3)
4.12%
0.28%
0.56%
1.92%
0.00%
1.32%
77.60%
14.20%
0.00%
DiOC6(3)
1.92%
0.12%
0.76%
1.72%
0.00%
1.24%
17.72%
76.52%
0.00%
RH110
0.00%
0.00%
0.08%
0.36%
0.00%
0.00%
0.00%
0.20%
99.36%
5-(and-6)-carboxy-2´,7´-dichlorofluorescein diacetate (CDCFA)
5(6)-carboxy-4',5'-dimethylfluorescein (CDMFA)
5-sulfofluorescein diacetate (SFDA)
5-(and-6)-carboxy-2´,7´-dichlorofluorescein diacetate, succinimidyl ester (DCF)
Cell Tracker Green – 5-chloromethylfluorescein diacetate (CTG)
bis-(1,3-dibutylbarbituric acid)trimethine oxonol (DiBAC4(3))
3,3'-dipentyloxacarbocyanine iodide (DiOC5(3))
3,3'-dihexyloxacarbocyanine iodide (DiOC6(3))
Rhodamine 110

## Slide 41
All dyes
Oxonol Events: 3373
Human Lymphocytes
7 of 9 “green” dyes could be resolved

## Slide 42: Spectra of gated zones
phycoerythrin
Rh123
chlorophyll
Bang’s Labs, Inc
Dyed
Beads

## Slide 43
PE
Rh-123
Chlorophyll
Bang’s
Labs
Dyed
Beads*
These CANNOT be resolved easily
But can using classification tools like PCA

## Slide 44: Sony* Spectral Cytometer
Data from M. Tomura, Kyoto University
Slide taken from Sony publicity materials
(*Sony licensed Purdue spectral Patent)

## Slide 45: Sony Spectral Cytometer - 12 color separation
Slide taken from Sony publicity materials
Data from E.Watanabe, Y. Nakamuci, N. Watanabe and H. Nakamuchi, Univ. Tokyo

## Slide 46
Separation of GFP and FITC signals using
spectral cytometry
Data courtesy of W.C. Hyun (UCSF)
Hyperspectral cytometry can capable of channels in the PMT to form “virtual filters”
  Function as a regular polychromatic FC
  Capability of fine-tuning the detection to adjust for particular staining strategies as well as problems with label intensities or markers abundances.

## Slide 47
Cytometry Part A  87A: 830842, 2015
System for visualizing cellular movement in vivo using photoconvertible FPs in Kaede-transgenic mice and KikGR expressing mice
Enables labeling cells with photoconvertible FPs that change emission from green to red with UV exposure
Goal to monitor cellular movement between lymphoid organs and peripheral tissue by flow cytometry

## Slide 48: Fundamental process in Spectral FCM
Cytometry Part A  87A: 830842, 2015

## Slide 49
Confocal and
Flow data of
Photoconversion
process
Cytometry Part A  87A: 830842, 2015

## Slide 50: Spectral Vs Conventional FCM
FITC519nm/EGFP507nm
KikGR-Green-(517nm)/KiKGR+ Venus+(528nm)
PE578nm – KikGR-red591nm
mAzami-Green(505nm/mKusabira-Orange2565nm
Cytometry Part A  87A: 830842, 2015

## Slide 51
Cytometry Part A  87A: 830842, 2015

## Slide 52: 11 color separation
Cytometry Part A  87A: 830842, 2015

## Slide 53: Is spectral an ideal cytometry machine?
Utilize optically maintenance/change-free optical design
Provide fully computer-assisted “compensation”
Unique for dyes that cannot be resolved with traditional instruments
Still need to provide guidance for label panels design
Able to measure multiple biological features including cell autofluorescence
So far, with 2 lasers, up to 20 colors have been measured

## Slide 54: Spectral Imaging Advantages & Disadvantages
Advantages
  Spectral discrimination
  Autofluorescence removal
  Quantitation
  Can use many (any) fluorochromes
  Can use very similar dyes (ie same color!!)
Disadvantages
  System has to be specifically designed for spectral
  Narrow bands  Poor S/N (per band)
  Wavelength dependence of system must be considered:
    Optical components
    Noise
    Sample
    Speed??
    Issues with multiple lasers
    Unknown if very low expressing epitopes will work well

## Slide 55: Conclusions
Spectral Cytometry is now a commercial reality
Spectral Cytometry will soon meet the standards set by the imaging community some 15 years ago
Spectral deconvolution is more mathematically “pure” than current cytometry “compensation”
Many probes not usable together can be used with spectral instruments
Spectral hardware should be cheaper and simpler than polychromatic cytometry (in future)
There are clearly many opportunities to advance this technology into new domains