# SOP-E006

Bead Settings For CyAn – Amgen HLscreen project 1

Objective:  To standardize the Cyan

Beads			PMT(dye)			means

Level II			               calcein(FL1-log)		                13

Mitosox(FL4-lin)		                76

mBBR	(FL6-log)		124

Level III			               calcein(FL1-log)		                 71

Mitosox(FL4-lin)		off scale high

mBBr(FL6-log)		              230

JC-1_525(FL1-log)		 32

JC-1_590(FL2-log)		275

DNA Check			calcein(FL1-log)

Mitosox(FL4-lin)

mBBr(FL6-log)

JC-1_525(FL1-log)

JC-1_590(FL2-log)

Flow Check			calcein(FL1-log)

Mitosox(FL4-lin)

mBBr(FL6-log)

JC-1_525(FL1-log)

JC-1_590(FL2-log)

CyAN Settings:

HV	G

Calcein(FL1)		400	1.0

Mitosox(FL4)		657	15.0

mBBr(FL6)		294	1.0

JC1_525

JC1_590

-------------------------------------------------------------------------------------------------------------------------------

Created by: Kathy Ragheb

Verified by:			 	Date: 	6/1/2012

# Text boxes

Sign Name

Print Name