# SOP-M001

#### Preparation of Dilution Tube for Microbial Assays

Objective:  Sterile glass tubes with sterile PBS are used to create dilution series for micbrobial assays

Procedure:

- Take clean dry glass 8 ml tube with black caps

- Place in a rack and fill rack

- Pipette 4 ml per tube using the multipettor (the one near the coulter counter)

- Set the dispenser to 4 ml (it is normally set at 10 ml) (RETURN THE SETTING TO 10 ML when finished.

- Screw caps onto tube by turning till they stop and then turn back ½ turn so that the tube is slightly open for autoclaving

- Place autoclave tape onto top, date and identify who made this rack of tubes and put an expiry date of 30 days from the date of autoclaving.

- Autoclave 30 min (liquids) and then tighten all caps when removed. Store and replace after 30 days expiry.

To row: Tube rack, Right Pipettor

Bottom Row: Set the pipettor, Right – Pipette 4 ml into each tube

--------------------------------------------------------------------------------------------------------------------------------

Created by: J.P. Robinson					Date: Feb 3, 2017

Verified by:			 	Date:

# Text boxes

Sign Name

Print Name