# SOP-P024

How to Make up Dilutions for Pacific Blue Dye for HTS (High Throughput Screening) Experiments.

Purpose:  to make dilutions for Pacific Blue dye (Invitrogen P-10163) to be used in HTS.

Note: 	MW= 339.21

Make dilutions in methanol

Amine reactive pacific blue succinimidyl ester forms blue fluorescent bioconjugates with ex/em ~410/455, excitable by the blue diode (violet) laser(405nm).

For structure:

http://www.invitrogen.com/site/us/en/home/support/Product-Technical-Resources/Product-Structures.-110163.html

Procedure:

- Prepare a 1mg/ml (1000µg/ml) in methanol solution.

- Make up the following dilutions from the above.

  - 1:10 dilution, 1ml of 1000µg/ml plus 9ml methanol (=100µg/ml)

  - 1:2 dilution of above, 1ml of 100µg/ml plus 1ml methanol (= 50µg/ml)

  - 1:5 dilution of above, 1ml of 50µg/ml plus 4ml methanol (=10µg/ml)

  - 1:4 diltion of above, 1ml 10µg/ml plus 3ml methanol (=2.5µg/ml)

  - 1:4 dilution of above, 1ml of 2.5µg/ml plus 3ml methanol (=0.625µg/ml)

  - 1:4 dilution of above, 1ml of 0.625µg/ml plus 3ml methanol (=0.156µg/ml)

-------------------------------------------------------------------------------------------------------------------------------

Created by: J.P. Robinson					August 17, 2009

Verified by:			 	Date:

Print Name

Sign Name