# SOP-P047

#### Preparation of Modified Vindelov’s Propidium Iodide Stain

Objective: To make up Vindelov’s Propidium Iodide stain for DNA staining.

Procedure:

- Measure out the following:

For 100ml		For 200ml

TRIS base	0.121g			0.242g

NaCl		0.0584g			0.1168g

RNAse		6.29l			12.58l

PI		0.005g			0.01g

NP-40		0.1ml			0.2ml

- Transfer to a flask with 80ml of millipore water

- Add a stir bar and mix until dissolved

- QS to 100ml

- Adjust pH to 8.0

- Filter through a 0.45 mm membrane filter

- Wrap bottle in aluminum foil; solution is light sensitive

- Label the bottle

- Store at 4

---------------------------------------------------------------------------------------------------------------------------------

Created by: Kathy Ragheb	Date:

Verified by:			 	Date:

Print Name

Sign Name