# SOP-P051

Amgen Screening Project – Dye Preparations

Objective: To prepare JC1 and Redox staining solutions for staining HL60’s for the Hypercyt/Cyan Screening.

Procedure:  JC-1 Dye, quantity for preparing ONE 384 well plate.

1.  Stock concentration for JC1 is 5mM in DMSO

2.  Ratio : 1ul of stock / 1ml of PBS with 0.1%BSA

3.  Thaw one (9ul) aliquot vial of JC1 from freeze.  Add this to 9mls of PBSw/0.1% BSA.

Mix well.

Procedure:  Redox Dye, quantity for preparing ONE 384 well plate.

1.  Stock concentration solution for calceinAM:  	1   mM. in DMSO

mBBr:  	              40 mM  in DMSO

Mito-sox:	 50ug

2.  Mito-sox: To each of two vials of mitosox, add 6.58ul of DMSO, Mix well.

3.  mBBr:  Take one (9ul) aliquoted vial out of freezer and thaw.

4.. CalceinAM:  ADD 1ul of stock to 30mls of the PBS /0.1% BSA , Mix well

5.   Transfer 9mls of this solution into a 15cc conical tube

SOP-P095:  Tube prep for the

Redox and JC1 Dyes

On Back of Sheet

6.  To this tube, add 9ul of Mito-sox and 9ul of mBBr.

7.  This solution is referred to as the Redox Staining Solution.

-------------------------------------------------------------------------------------------------------------------------------

Created by: Cheryl Holdman

Verified by:			 	Date:

Print Name

Sign Name