## Slide 1: Reagent Free Advances in Scatter and Analysis
J. Paul Robinson
Euiwon Bae, Bartek Rajwa
Arun Bhunia, & E. Dan Hirleman

## Slide 2: Overview
Over the past several years:
  We have developed all the analytical software, classification routines and data management that has driven discovery using light scatter technology
  We have designed 3 different models of hardware used for light scattering analysis
  We created the algorithms for classification and identification of organisms
  We developed a master database concept that manages data, creates classifiers, save profiles and drives the identification process
  We have developed new label free approaches to rapid organism identification
  We have recently developed a unique technology that we believe has the possibility of enormous benefit.

## Slide 3: Background to PUCL Lab
PUCL Environment
Biomedical Engineering combined with Microbial laboratory
Combination of engineering in hardware design and manufacturing ability
Advanced software development team linked to instrument design
Informatics capability in developing advanced classification algorithms with capacity to integrate these into easily accessible software platforms
Automation capacity in sample preparation, as well as high throughput robotically driven analysis

## Slide 4: Brief Instrument History
V2-Creation Date: 2009-05-27
BARDOT V1 Creation Date 2007-10-18
V2 Creation Date: 2009-09-11
V3 Creation Date : 2011

## Slide 5: Some background on Scatter Technology

## Slide 6: Productivity
9 Instruments Manufactured
West Virginia University Medical School (1)
Battelle Labs, Ohio (1)
Univ. California Merced (1)
USDA (Portable Instrument) (3rd of 3 prototypes)
PUCL laboratories (4)
Modified existing instruments (2)

## Slide 7: Publicity
Created several Youtube Videos to show capacity of Technology

## Slide 8: Latest Benchtop Detector
New
Controllers
(All USB)
New
plate loader
with dual
capacity
New Light Source
New camera mount
New lens mount
New base plate design
New USB Hub
New plate holder/
release
Single USB cable to computer
Every Part Auto Cad for
CNC manufacture

## Slide 9: Automation
Original Automated Prototype
Integrated unit on commercial robotic Incubator

## Slide 10: Automation

## Slide 11: Key Features Developed
Efficiency
“Traveling Salesman”
Dual plate holders in
All bench instruments
Calibration Plates for Round and Rectangular Plates
Automated Calibration Software
Visual colony # with Report
Plate Sieve – Time based Analysis

## Slide 12: Portable Instrument
Version 1
Version 2 - model
Version 2
Version 3
Version 3 new controller & in Travel Case

## Slide 13: Dual Imaging Mode
To HDR or not, that is the question? Can something be done about it? Sure, just click a button!!

## Slide 14: Colony Differentiator
Problem: How many “types” of colonies are on this plate?

## Slide 15
3 primary groups of colonies
Hamburger mixed culture
Reduced data set
Colony Differentiator

## Slide 16
Original plate
Colony Differentiator
Class 1
Class 2
Class 3

## Slide 17: Future opportunities
Micro Colonies – as small as 50 microns – may be possible to analyze data within 3-4 hours
  Requirements:
  High resolution optical system
  new approaches of colony illumination
  New centering algorithms
  Different camera system
  Alternative analytical toolsets – both hardware and software
Combination analytical techniques
  Raman & Scatter (Preliminary studies already performed)
  Scatter and morphology (preliminary studies)
  Backscatter, and forward scatter (Preliminary studies)

## Slide 18: Understanding what scatter really means
Growing colonies from single
organisms to determine total
number for analytical support.
These data will be important as we try to better define what are the fundamental components that impact the light scatter patterns we are trying to understand.
A micro colony forming
From a single
organism
1μm

## Slide 19: Multiple Organism Colonies
A colony formed by 3 organisms (S.aureus)

## Slide 20: Micro Colony Growth
A colony formed by a single organism (S.aureus)

## Slide 21: Conclusion & Summary
Our team of Euiwon Bae, Bartek Rajwa, Jennie Sturgis, Cheryl Holdman, Valery Patsekin have a combination of skills that drive our common goals
We have designed and built several different toolsets that have the ability to rapidly identify pathogenic organisms
We have integrated advanced algorithms into easy to use software and reliable hardware
We have developed a strong data base system for data management
New approaches have identified some outstanding opportunities not yet capitalized on un light scatter

## Slide 22
Acknowledgements
Valery Patsekin
Euiwon Bae
Bartek Rajwa
Jennie Sturgis
Cheryl Holdman
Kathy Ragheb
Esther Foo
Funding: USDA, CFSE, NIH, PUCL