## Slide 1: Real-time, Interactive approaches to high throughput/high content flow cytometry data analysis J. Paul Robinson, SVM Professor of Cytomics, Professor of Biomedical Engineering, Purdue University, USA
“Advances in Cytometry: New applications and insights in basic and clinical research”
Bordeaux, France
October 1-3, 2013

## Slide 2: Purdue University Cytometry Laboratories Acknowledgements
Contributors
  Staff Scientists: Valery Patsekin,
Graduate Students: Awais Mansoor, Angela Wolf, Fiona Thomas, Anthony Pedley
Undergrad Students: Nicole Lewis, Peter Carlsgaard
Faculty: Bartek Rajwa, Euiwon Bae, J. Paul Robinson
Data sets: Gary Nolan Lab, David Hedley, Bernd Bodenmiller, Paul Wallace
Staff
  Jennie Sturgis (Imaging)
  Kathy Ragheb (Flow)
  Cheryl Holdman (Flow)
  Raymond Fatig (cell culture)
Funding:
NIH, NSF, USDA, Purdue University
Corporate: Beckman-Coulter, Point-Source, Parker-Hannifin, Polysciences, Bangs labs, Roche, MediaCybernetics, Q-Imaging, Kodak Medical Systems, Crystalplex, Becton-Dickinson , Icyt,
eBioscience, ITG Indiana, Roche, Edmund Optic, Perkin Elmer, Digilab Inc., Spherotech, Inc., IntelliCyt, Inc
Research reported in this presentation was supported by the National Institute of General Medical Sciences & the National Cancer Institute of the National Institutes of Health under Award Numbers 1R56AI089511-01, R21RR033593-01 & 1R33CA140084. The content is solely the responsibility of the authors and does not necessarily represent the official views of the National Institutes of Health.
Bindley Bioscience Center, Purdue University

## Slide 3: Background and Concepts
Flow cytometry saw little changed over its first 30 years
There are some current fundamental changes
HT flow cytometry has been developed
New ways of analyzing routine clinical data
HC flow cytometry now well underway
Discussion areas:
  Identify tools that create HT data in cytometry
  Demonstrate how high throughput cytometry works using drug screening as an example
  Show current tools and processes of analysis
  Clinical applications – new opportunities
  Expand flow cytometry as a systems approach to discovery

## Slide 4: Multiparametric and multifactorial HT cytometry
Define multiple populations in the feature space
Find the features describing the populations f1,.. fn
concentration
compounds
Create n × m array of features, where every m could be a vector [f1,…,fn]
HT flow cytometry
Find the features (such as IC50)
+
+

## Slide 5: Problem 1: eliminate operator’s input in analysis
gate
gate
Calculate fraction of “positive” and “negative” cells
Problems?
Well… plenty actually

## Slide 6: Alternative?
Method I
  Sort the apples (“gate” the green and red populations, or red and non-red)
  Count red and green (non-red)
  Compare the counts
Method II
  Find a bucket full of red apples only
  Find the distribution
  Take a bucket with red and green apples and find the distribution
  Compare the distribution
Harvest day
Percentage of green apples
-5
-10
-15
-20
20
40
60
80
Heuristic methods
  Minkowski-form
  Weighted-Mean-Variance (WMV)
Distance functions used in nonparametric tests
   2 (Chi Square)
  Kolmogorov-Smirnov (KS)
  Cramer/von Mises (CvM)
Information-theory divergences
  Kullback-Liebler (KL)
  Jeffrey divergence (JD)
Spectral measures
  Spectral angle mapper
  Bhatacharyya distance
Ground distance measures
  Histogram intersection (Overton)
  Quadratic form distance (QF)
  Wasserstein-Rubinstein-Mallows distance (Earth Movers Distance)

## Slide 7
How do you collect that much data on a flow cytometer?

## Slide 8: Optical Design of a basic flow cytometer
PMT 1
PMT 2
PMT 5
PMT 4
Dichroic
Filters
Bandpass
Filters
Laser
Flow chamber
PMT 3
Scatter
Sensor
PMT 1
PMT 2
PMT 5
PMT 4
Dichroic
Filters
Bandpass
Filters
Laser
Flow chamber
PMT 3
Scatter
Sensor
Sample
HyperCyte diagram kindly supplied by Larry Sklar
HyperCytTM system added to flow cytometer
Copyright 2006 Nature Publishing Group
Nature Reviews Protocols
384 wells/10 min
1 ml/sample 5000 cells/ml
Notes: Basic schematic for how a flow cytometer works – a cell passes via a laser (blue line) and signals are passed down to each PMT and light scatter detector

## Slide 9
Automated
Cytomat
Incubator
Automated Biomek
Preparative system
Automated HyperCyte
Sample Delivery
Cyan flow cytometer

## Slide 10: Traditional gating process
Traditional flow gating logic and analysis approach
‘What we see depends mainly on what we are looking for.’ John Lubbock
Decision
Result
Decision
Decision
Result
Decision
Repeat ad infinitum

## Slide 11: Circa, 1990-present
Run 30-60 samples
per hour
ANALYSIS
1 sample 10 to 30 minutes

## Slide 12: The Operational Modality of Flow Cytometry
1. Take a complex biological sample
2. Separate that sample into single samples
3. Run each sample as a single unit
4. Put all the data back together again
5. Try to relate each piece of data back to the original biological system
The operational modality of Flow Cytometry.pptx
Traditional
HT Flow
1. Take a complex biological sample
2. Create very large scale “systems level” experimental grids
3. Run samples as a high speed, low volume set
4. Combine data automatically as sets
5. Conduct simultaneous
advanced analysis in
parallel

## Slide 13
‘It’s not what you look at that matters, it’s what you see.’
Henry David Thoreau

## Slide 14: Graphical data processing environments
Orange
IBM Data Explorer
Khoros
AVS

## Slide 15: Populate the plate with appropriate assay components
Stimulators
Conc
Or different
activation times

## Slide 16: Graphical cytometry analysis pipeline builder
A3
B3
C3
D3
E3
F3
G3
H3
I3
J3
Control +
Control -
Build curve
distance
Label 1
distance
Label 2
distance
Label 3
Extract features
We call this a Logic Map
Result
Drug 1
Drug 2
Drug 3
Drug 4
Drug 5
Drug6
Drug 7
Drug 8
Drug 9
Drug 10

## Slide 18: Example Drug Screen Membrane Potential, Glutathione, Viability, Superoxide
Calcein
JC-1
mbbr
Mitosox [1]

## Slide 19: Plate design-Analysis
Positive Control
(Vancomycin)
High Conc Drugs

## Slide 20: Rapid Processing
List Mode files
(96 or 384 wells)
(entire directory)
Protocol
IC50 or appropriate
result
About 30 seconds

## Slide 21: PlateAnalyzer Output
Different Models

## Slide 22: 3 functional assays, 32 drugs, 10 points per drug, 96 curves, (12 min to run 384 samples, 5000 cells per sample including all analysis
1 Click
1 minute
Mitosox
Calcein
mBBr

## Slide 24: Processes can be very simply defined
Select cells
(can be any
Gating process)
Some rules
(any Boolean
Process or other)
Identify drugs
and doses – can
be any number
of drugs or concs

## Slide 25: Analysis Logic Map Format

## Slide 26
Measuring KS Distance
Quadratic form Distance
Kullback-Leibler Distance
1. Select the desired parameter and press “DISTANCE”
2. A parameter box appears
3. The parameter box must be connected to both the drug box and the controls
You can select any parameter for KS distance, or quadratic form distance, or Kullback-Leibler distance if you wish. There are several different distance measures you can choose from – or add you own!!

## Slide 27: Comparison – Gating vs NonGating
IC50
KL-Values
*Patent pending

## Slide 28: Clinical Cytometry
4-9 color phenotyping is current standard
Samples are run single tubes
Preparation is primarily manual
Analysis is mostly manual
Analysis is essentially the same as it was 20 years ago

## Slide 29: Typical 4 Color Clinical Panel
1. CD3/CD14/DR/CD45
2. CD3/CD4/CD8/CD45
3. CD7/CD13/CD2/CD19
4. KAP/LAM/CD19/CD5
5. CD20/CD11c/CD22/CD23
6. CD38/CD10/CD19/CD34
7. CD57/CD56/CD33/CD3
8. CD11b/CD13/CD33/CD34
9. CD15/CD56/CD7/CD34
10. CD16/CD32/CD45/CD64
11. CD41/CD71/CD45/CD34
12. CD38/CD138/CD45/CD56
13. CD16/CD163/CD13/CD117
14. CD52/CD30/CD19/CD20
15. Isotype
16. Auto
17. Live Dead (Viability)

## Slide 30: Clinical Sample – 17 Tube assay
Data kindly supplied by Dr. Paul Wallace

## Slide 31: Similar situation with 9 color clinical samples
Data from Brent Wood publication

## Slide 32
CD3/CD14/CD7/cd38/Kappa/HLADR/CD57/CD11b/CD15/CD16/CD56/CD52/CD30/CD19/CD71
Different colors represent different phenotypes
Variable parameters
Variable parameters

## Slide 33: Example with 10 phenotypic markers
-ve
low
medium
high
Example Parameter

## Slide 34: The power of cytomics

## Slide 36: Multicolor Flow Analysis 7 color (9 param) data with dose response curves
Logic Map to produce curves
Data kindly provided by Peter Krutzik and Garry Nolan, Stanford

## Slide 37: Mass Cytometry - CyTOF

## Slide 38
1 giant data file
De-Barcode

## Slide 39
Data from Bernd Bodenmiller, Nolan Lab
dasatinib
H-89
imatinib
rapamycin
SB-202190
sorafenib
SP600125
staurosporine
sunitinib
UO126
VX680
BTK inhibitor III
IKK inhibitor X
JAK inhibitor I
JAK2 inhibitor III
JAK3 inhibitor VI
Lck inhibitor
PP2
Syk inhibitor IV
Akti-1/2,
GDC-0941
streptonigrin
Go-6983
Crassin
14x14x12=2353

## Slide 40: Very complex data sets

## Slide 41: PlateAnalyzer Logic Map for HC Analysis
(Example screenshot of the software)

## Slide 42: Analysis Logic Map Format

## Slide 43: Logic Map Component

## Slide 44
14 phosph’n sites per cell type
8 drug conc.
12 stimulants in each box
Each box produces 12 IC50 curves
14 cell types
Gating parameters
Data Kindly supplied by Bernd Bodenmiller
A single analysis program can produce 14 x 14 x 12 (2352) IC50 curves
Each histogram above, is used as a
Sequential gate for each of the 14
Subpopulaitons and 12 stimulators

## Slide 45
C:\xara stuff\Cytof ideas

## Slide 46
C:\xara stuff\Cytof ideas

## Slide 47
C:\xara stuff\Cytof ideas

## Slide 48
C:\xara stuff\Cytof ideas

## Slide 50
C:\xara stuff\Cytof ideas

## Slide 51
pzap70
C:\xara stuff\Cytof ideas

## Slide 53: Once you have access to the complete sets – you may be able to integrate pathway analysis

## Slide 54: PlateAnalyzer Software
Free software –
with automated updates
Can read most instruments
No maximum file size
Reads entire plate assays at once
No gating restrictions or limitations
All samples are instantly viewable at all times
Advanced statistical operators available

## Slide 55: Resources
Video Tutorials: cyto.purdue.edu/Purdue_software
Download PlateAnalyzer: vault.cyto.purdue.edu
          You need a license – email JPR
          Email: wombat@purdue.edu
Cytospec Software:
http://www.cyto.purdue.edu/Purdue_software

## Slide 56: Cytometry lectures
cyto.purdue.edu/flowcyt/educate/pptslide.htm

## Slide 57
cyto.purdue.edu/flowcyt/educate/pptslide.htm

## Slide 58: Cytospec Software
CYTOSPECTM (updated Sept 16, 2012)
The following program is called Cytospec (TM) and is a general purpose flow cytometry analysis program
For 32 bit you need the EXE file (download now). For 64 bit use this EXE file (Download now).
Tutorial
Brief instructions for running Cytospec are here (download now) and will be updated one of these days!
1. Tutorial without audio (use above file) (play)
Video Tutorials: YOUTUBE & Twitter HANDLE is CYTOMETRYMAN
The following video tutorials teach you all the basics of Cytospec. You can use the 5 color listmode file HERE if you want to play along!
1. Demo 1 -YOUTUBE or download- Basic introduction
2. Demo 2 - YOUTUBE or download-Tabloid output
3. Demo 3 - YOUTUBE or download- PCA - how to apply it\
4. Demo 4 - YOUTUBE or download- More PCA
5. Demo 5 - YOUTUBE or download- Some Utility Features
6. Demo 6 - YOUTUBE or download- More Utility Features
7. Demo 7 - YOUTUBE or download- Create a new FCS file and perform PCA on it

## Slide 59
Some Cytospec examples using PCA

## Slide 60: Resources - PlateAnalyzer
Files needed:
Drug concentration file (an example, but you can make any one you want) (download now)
Sample Data file: zip file - this must be unszipped - it contains 384 well data - each are fcs files showing 32 drugs (30 megs) (download now)
Tutorial files (these were made on an earlier version, but they are very similar to the current version) Many of these are on YouTube - search for "PUCL, PlateAnalzyer, Purdue"
1. The quick 45 second demo (play) YOUTUBE
2. Instant gates (play) YOUTUBE
3. Basic analysis (download now) (23.8 megs)
4. Exporting data in CSV format YOUTUBE
5. New Drugbox controls YOUTUBE
6. Logic Map YOUTUBE
7. Wells with no cells video! YOUTUBE
8. AutoUpdate feature (play) auto%20updates.wmv
9. Enhanced features March 2012 YOUTUBE
10. SMILES codes read for drugs see YOUTUBE
11. New DRUGBOX Controls features YOUTUBE
12. Export CSV data files YOUTUBE
13. Dealing with Empty Wells YOUTUBE
14. 40 PLUS parameter data CyTOF analysis YOUTUBE
15. Autowell finder-extracting single wells from large files for Accuri YOUTUBE

## Slide 62: Purdue Cytometry Discussion List
subscribe@cyto.purdue.edu

## Slide 63: Summary
High throughput flow cytometry is not only possible, there are significant advantages for some assay systems
Flow cytometry can collect high content data and new approaches to data processing are necessary
New approaches require more automation which leads to lower per test cost, better QC and faster results
New classification tools allow us to enhance the analytical process and assist in identifying signaling pathways
For analysis of these complex data sets – the complexity can be “under the hood”, but must be easy, interactive and accurate
Visualizing and manipulating very large data sets is quite possible using newly developed analytical tools