## Slide 1: Phenotyping of bacterial colonies by elastic light scatter
Euiwon Bae
School of Mechanical Engineering
Department of Basic Medical Science/Biomedical Engineering
jpr@flowcyt.cyto.purdue.edu
J. Paul Robinson
Bindley Bioscience Center/ Department of Basic Medical Science
Bartek Rajwa
Bindley Bioscience Center
Valery Patsekin

## Slide 2: Bacterial classification

## Slide 3: Bacterial classification
A
A- Plane wave
B
B- Bacterial colony
C1
C2
C1- Individual bacterium
C2-Bacteria w/ ECM
D
D- ‘Imprinted’ wave
E
E- Far-field patterns

## Slide 4: Bacterial classification
Cryo-NanoSEM of Listeria colonies
L. monocytogenes
L. innocua

## Slide 5: INSTRUMENTATION
Integrated Colony Morphology Analyzer (ICMA)
mini-BARDOT
HTS device
E. Bae “Portable bacterial identification systems based on elastic light scatter patterns”, Journal of Biological Engieernig, 2012.
E. Bae, “Development of a microbial high-throughput screening instrument based on elastic light scatter patterns”, Review of Scientific Instruments, Vol. 83, 044304, 2012.
Notes: CDC estimates that 76 million case of food-borne illness and 5,000 associated deaths occur in the United States every year
The detailed investigations to find the source or cause of the food related illness take over 20 days to complete
Huge economic and reputation loss suffered by food industry companies
They need a fast, label-free, non-invasive and not labor intensive detection method to efficiently identify the potential risk and avoid the huge economic loss incurred in the later stage

## Slide 6: Current BEAM INstrument

## Slide 7: Double stage instrument – software – Automation
Automation system allows unassisted operation

## Slide 8: INSTRUMENTATION
Multi-spectral BARDOT: Increase the
wavelengths to 405 nm (near Blue) and 904 (NIR)
405 nm
635 nm nm
904 nm nm
Reflection type BARDOT
Notes: CDC estimates that 76 million case of food-borne illness and 5,000 associated deaths occur in the United States every year
The detailed investigations to find the source or cause of the food related illness take over 20 days to complete
Huge economic and reputation loss suffered by food industry companies
They need a fast, label-free, non-invasive and not labor intensive detection method to efficiently identify the potential risk and avoid the huge economic loss incurred in the later stage

## Slide 9: ANLYSIS
Notes: CDC estimates that 76 million case of food-borne illness and 5,000 associated deaths occur in the United States every year
The detailed investigations to find the source or cause of the food related illness take over 20 days to complete
Huge economic and reputation loss suffered by food industry companies
They need a fast, label-free, non-invasive and not labor intensive detection method to efficiently identify the potential risk and avoid the huge economic loss incurred in the later stage

## Slide 10: Application: Food safety
P.P. Banada et al,, “Label-free detection of multiple bacterial pathogens using light scattering sensor”, Biosensors and Bioelectronics, Vol. 24, pp.1685-16
Notes: Slide 1. Background of the project objectives, milestones,
and work done over the past year;

## Slide 11: Application: Food safety
P.P. Banada et al,, “Label-free detection of multiple bacterial pathogens using light scattering sensor”, Biosensors and Bioelectronics, Vol. 24, pp.1685-16
Notes: Slide 1. Background of the project objectives, milestones,
and work done over the past year;

## Slide 12: Application: Food safety
 |  | SMAC | Rainbow | Chromagar | R & F | BHI
Serogroup O157 ( O157:H7) | Coloration (10 -12 h) |  |  |  |  | 
 | Coloration (18 - 20 h) |  |  |  |  | 
 | Scattering pattern |  |  |  |  | 
Serogroup O26 (O26:H11 SJ3) | Coloration (10 -12 h) |  |  |  |  | 
 | Coloration (18 - 20 h) |  |  |  |  | 
 | Scattering pattern |  |  |  |  | 
Serogroup O45 (O45:H2 05-6545) | Coloration (10 -12 h) |  |  |  |  | 
 | Coloration (18 - 20 h) |  |  | N/A * |  | 
 | Scattering pattern |  |  |  |  | 
Yanji Tang et al "Light Scattering Sensor for Direct Identification of Colonies of Escherichia coli Serogroups O26, O45, O103, O111, O121, O145 and O157", PLoS ONE, vol. 9, no. 8, p. e105272, Aug. 2014.
Notes: Slide 1. Background of the project objectives, milestones,
and work done over the past year;

## Slide 13: Application: Food safety
Yanji Tang et al "Light Scattering Sensor for Direct Identification of Colonies of Escherichia coli Serogroups O26, O45, O103, O111, O121, O145 and O157", PLoS ONE, vol. 9, no. 8, p. e105272, Aug. 2014.
Notes: Slide 1. Background of the project objectives, milestones,
and work done over the past year;

## Slide 14: Application: Food safety
PFEG
cluster
ELS cluster
D21: J. P. Robinson: Poster Session 2: A rapid label-free technology for microbial identification for microbial identification for food borne pathogens.
Notes: Slide 1. Background of the project objectives, milestones,
and work done over the past year;

## Slide 15: Application: Probiotics study

## Slide 17: Automation is well defined

## Slide 18: APPLICATION: Bio-security
0
6
12
18
24
30
36
42
48 Hrs
Sample 1
Clinical
isolate
Lab A
New York
Sample 2
Factory food
Distribution
Center
Lab B- LA
Sample 3
Clinical
isolate
Lab C
Chicago
ELS
Pattern
Generation
Unknown
Send to DB
ELS
Pattern
Generation
Unknown
Send to DB
ELS
Pattern
Generation
Partial ID
Send to DB
Unknown
Alert
No Alarm
Pattern A
Unknown
Alert
Yellow
Pattern A
Partial ID
Alert
Orange
Pattern A
Known ID
Alert
RED
Pattern A
Sample “n”
Lab W
Miami
ELS
Pattern
Pathogen ID
RED Alert
Known ID
Alert
RED
Pattern A
PCR
Fingerprint
Partial ID
Absolute
ID
Time sequence for alert confirmation
0
6
12
18
24 Hours
Central
DB
Local
DB
Local
DB
Local
DB
A sample arrives at lab A in New York. A pattern is taken – no identification made. A second sample from a food distribution center is sent to a lab in LA. It is processed by ELS – a partial ID is made as the system knows it has seen that patter before but it does not have an ID. A third specimen arrives at a Chicago lab. Immediately the system recognizes that the pattern has been seen 3 times- this is a major alert flag. By this time (18 hours after 1st sample) a full ID has been made and a full red alert is engaged. The pattern from a subculture of the isolate is used to train the database classifier with ‘truth” and from now on, all subsequent isolates of this organism are immediately recognized regardless of the isolation site.
Samples are spaced at 6 hour Intervals for demonstration purposes only
Security
Intel

## Slide 19: Opportunities
Compared to MALDI-TOF – we have a significant economy
Light scatter has many opportunities in sterilization monitoring using automated systems
System cost is much lower (1/5 at least)
Operational cost is much lower (no reagents necessary)
User can make own database
Note: Doclu LLC has been established to develop the commercial versions of system operation and analysis for the Light Scatter technology. Doclu has licensed the code from PRF and will develop new versions for benchtop and fully automated industrial applications. Doclu is owned by JPR, EB, VP and BR.